Rwanda Biomedical Center

Practical Examination - Direct Observation Checklist

(For Use while observing PT sample testing)

| ______________________________________ Name of Tester |  | __________________________________________________ Name of Evaluator |
| --- | --- | --- |
| _____________________________________________________ Certification Number |  |  |
| __________/___________/________________ |  | _____________/__________________/_____________________ |
| Last Training Date |  | Date Direct Observation was Conducted |

Scoring Criteria 1 = Step performed correctly; 0 = Step incorrectly performed or skipped; N/A= Not applicable

| Steps to be observed (Evaluator to score each step observed) |  | Score | Comments |
| --- | --- | --- | --- |
| 1 | Followed all safety precautions as per SOP (lab coat, apron, gloves, etc.…) |  |  |
| 2 | Cleaned/Disinfected the working area |  |  |
| 3 | The content of the PT pack is verified Note: For eluted DTS PT samples: (Verify that the DTS tubes are properly labelled, results form and contact information are included) |  |  |
| 4 | The integrity of the PT pack verified (i.e. PT sample tubes are not leaking) |  |  |
| 5 | Check and record expiry date of test kits and buffer Note: Verify if the HIV RT kit lot is within the expiration date. If it has expired; stop the examination |  |  |
| 6 | Correct test kit specimen collection devices used to perform testing Note: Verify if the correct HIV RT kit is being used. If the national algorithm is not being followed; stop the examination |  |  |
| 7 | Write PT sample ID on test device? |  |  |
| 8 | Pre-set timer (i.e. time tracking device) before proceeding with testing |  |  |
| 9 | Test 1 -->Use correct Sample Volume |  |  |
| 10 | Test 1 -->Use correct Buffer Volume |  |  |
| 11 | Test 1 -->Start timer |  |  |
| 12 | Test 1 -->Use correct Wait Time |  |  |
| 13 | Correctly follow national testing algorithm |  |  |
| 14 | Refer to SOP or Job aides while performing tests |  |  |
| 15 | Test 1 -->Use correct result interpretation/documentation (i.e., reactive, non-reactive or invalid) |  |  |
| 16 | Test 1 -->Final result Correctly identify non-reactive samples and document the test result for them as negative. Note: Score 1 point for each panel sample with correct result |  |  |
| 17 | Correctly identify and document reactive and invalid samples needed for test 2 |  |  |
| 18 | Pre-set timer (i.e. time tracking device) before proceeding with testing |  |  |
| 19 | Test 2 -->Use correct Sample Volume |  |  |
| 20 | Test 2 -->Use correct Buffer Volume |  |  |
| 21 | Test 2 -->Start timer |  |  |
| 22 | Test 2--> Use correct Wait Time |  |  |
| 23 | Correctly follow national testing algorithm |  |  |
| 24 | Refer to SOP or Job aides while performing tests |  |  |
| 25 | Test 2 -->Use correct result interpretation/documentation (i.e., reactive, non-reactive or invalid) |  |  |
| 26 | Test 2 -->Final result Correctly identify and document the test result for each samples tested (i.e., positive or indeterminate) Note: Score 1 point for each panel sample with correct result |  |  |
| 27 | Record results in HIV testing logbook correctly |  |  |
| 28 | Cleaned work space and dispose of biohazard waste (gloves, wrappers, alcohol swab and desiccant) properly? |  |  |
| Total Points |  |  |  |

Direct Observation score: (…………/28)* 100= …………….% [Indicate the score obtained for the direct observation by the provider] For example if the provider got all of the direct observation questions correct, then score 100%. Sample Panel testing score: …………% [Indicate the score obtained for the panel by the provider] For example if the practical exam include 6 samples to be tested and all sample test results are correct, then score 100% (=6/6*100). If only 2 samples results are correct score 33% (=2/6*100] Final Practical Examination score: ............% [Indicate the average score obtained by the provider for the direct observation and panel testing] For example if the provider scored 70% for direct observation and 100% for panel testing. The average score will be 85% (70%+100%/2) To be considered competent, the provider has to score 100% for the panel testing and at least 90% for direct observation Overall Comments: (Document whether the provider demonstrated competency and indicate areas of improvement if any) Remedial Action (if applicable):

Date Examination completed: _______/_______/________	Tester Signature:  ___________________________

Name of Evaluator: _______________________________	Evaluator Signature: _________________________