Practical Examination - Direct Observation Checklist

(For Use while observing client testing)

| ______________________________________ Name of Tester |  | ______________________________________________ Name of Evaluator |
| --- | --- | --- |
| ______________________________________________________ Provider Certification Number |  |  |
| __________/___________/________________ |  | _____________/__________________/_____________________ |
| Last Training Date |  | Date Direct Observation was Conducted |

Scoring Criteria

1 = Step performed correctly; 0 = Step incorrectly performed or skipped; N/A= Not applicable

| Steps to be observed (Evaluator to score each step observed) |  | Score | Comments |
| --- | --- | --- | --- |
| 1 | Followed all safety precautions (i.e., lab coat, apron, gloves, etc…)? |  |  |
| 2 | Cleaned/Disinfected the working area |  |  |
| 3 | Assemble all required supplies (i.e., cotton wool, alcohol, gauze, lancet, plaster, biohazard and sharps container, appropriate PPE, test kits)? |  |  |
| 4 | Correct test kit identified for use Note: Verify if the correct HIV RT kit is being used. If the national algorithm is not being followed; stop the examination |  |  |
| 5 | Check and record expiry date of test kits and buffer Note: Verify if the HIV RT kit lot is within the expiration date. If it has expired; stop the examination |  |  |
| 6 | Identify client correct information is documented (i.e., client ID, gender, date of birth( if applicable)) |  |  |
| 7 | Correctly explain finger stick blood collection process to be performed to the client |  |  |
| 8 | Explain the HIV RT to be performed to the client |  |  |
| 9 | Write client’s name/ID on test device? |  |  |
| 10 | Check client’s hand and correct finger is selected for finger prick procedure ( i.e., 3rd or 4th finger) |  |  |
| 11 | Pre-set timer |  |  |
| 12 | Apply correct finger-prick technique (i.e., proper placement of lancet, pricked finger at target site correctly, wiped first drop of blood) |  |  |
| 13 | Collect correct sample volume (appropriate test kit specimen collection device used correctly) |  |  |
| 14 | Dispose of lancets, gloves, wrappers, alcohol swab and desiccant in the appropriate biohazard containers? |  |  |
| 15 | Test 1 -->Use correct Sample Volume |  |  |
| 16 | Test 1 -->Use correct Buffer Volume |  |  |
| 17 | Place blood in buffer and start timer (i.e. time tracking device) |  |  |
| 18 | Test 1 -->Use correct Wait Time |  |  |
| 19 | Correctly follow national testing algorithm |  |  |
| 20 | Refer to SOP or Job aides while performing tests |  |  |
| 21 | Test 1 -->Use correct result interpretation/documentation (i.e., reactive, non-reactive or invalid) |  |  |
| 22 | Final result-->Correctly identify non-reactive samples and document the test result for them as negative. (Score 1 point for each panel sample with correct result) |  |  |
| 23 | Correctly identify and document reactive and invalid samples needed for test 2 |  |  |
| 24 | Pre-set timer |  |  |
| 25 | Test 2 -->Use correct Sample Volume |  |  |
| 26 | Test 2 -->Use correct Buffer Volume |  |  |
| 27 | Test 2 -->Start timer |  |  |
| 28 | Test 2 -->Use correct Wait Time |  |  |
| 29 | Correctly follow national testing algorithm |  |  |
| 30 | Refer to SOP or Job aides while performing tests |  |  |
| 31 | Test 2 -->Use correct result interpretation/documentation (i.e., reactive, non-reactive or invalid) |  |  |
| 32 | Final result-->Correctly identify and document the test result for each samples tested (i.e., positive or indeterminate) (Score 1 point for each panel sample with correct result) |  |  |
| 33 | Record results in HIV testing logbook correctly |  |  |
| 34 | Cleaned work space and dispose of biohazard waste (gloves, wrappers, alcohol swab and desiccant) properly? |  |  |
| Total Points |  |  |  |

Direct Observation score: (…………/ 34)* 100 = …………………% [Indicate the score obtained for the direct observation by the provider] For example if the provider got all of the direct observation questions correct results are correct, then score 100% Sample Testing score (Client): …………% [Indicate the score obtained for the client samples by the provider] For example if the practical exam include 6 samples to be tested and all client sample test results are correct, then score 100% (=6/6*100). If only 2 samples results are correct score 33% (=2/6*100] Final Practical Examination score: ............% [Indicate the average score received by the provider for the direct observation and client sample testing] For example if the provider scored 70% for direct observation and 100% for client sample testing. The average score will be 85% (70%+100%/2) To be considered competent, the provider has to score 100% for the client sample testing and at least 90% for direct observation sections of the exam. Overall Comments: (Document whether the provider demonstrated competency and indicate areas of improvement if any) Remedial Action (if applicable):

Date Examination completed: _______/_______/________	Tester Signature:	 ______________________

Name of Evaluator: _____________________________		Evaluator Signature: ______________________