Personnel Certification

Written Examination Questions Version

| S/N | Question Code | Questions |
| --- | --- | --- |
| 1 | 1-11 | Who is the first person responsible for the quality of HIV testing at the testing site? - National HIV program coordinator - Testing site personnel - Test site supervisor - National Reference Laboratory personnel |
| 2 | 1-12 | Which of the following statements is an example of preventing errors to ensure accurate results? - Keeping test kits stored under direct sunlight - Performing testing without reviewing the test procedures - Reporting results without checking for transcription errors - Checking the availability of test kits and supplies |
| 3 | 1-14 | What is the next step if the negative control sample is contaminated? - Inspect test kits are not damaged and expired - Report to supervisor and use a new rapid test kit lot - Re-test a new set of controls using a new device and follow the test procedure - Record the result and continue to test client samples |
| 4 | 2-5 | For a HIV rapid test to be valid; - The control line must be absent - The control line must be present - Both the control and test lines must be absent - The test line must be present while the control line is absent |
| 5 | 2-6 | Which of the following accurately represents the final HIV status of a client? - Reactive - Non-reactive - Invalid - Positive |
| 6 | 2-14 | If the test result is repeatedly invalid, what do you do? - Do not report the result to the client - Report the result to the client - Assume there is no problem - Do not inform your supervisor |
| 7 | 3-1 | Which of the following actions is a safety practice? - Discarding sharps into the office waste bin - Performing blood collection without gloves - Washing hands before and after each client - Keeping food and drinks in the testing area |
| 8 | 3-31 | Which of the following are examples of safe work habits: - Wash hands before and after each client - Not wearing a lab coat or apron if it is too hot - Wear a new pair of gloves when the client looks sick - Discard sharps in the office waste bin |
| 9 | 3-33 | If a sharps container is not available at the moment, used sharps can be put in the general waste bin. - True - False |
| 10 | 4-1 | Which of the following type of specimens can be used for HIV rapid testing? - Urine - Mucus - Dried Blood Spots - Whole Blood |
| 11 | 4-14 | Which are the most appropriate fingers to prick for testing? - Thumb and middle fingers - Second and middle fingers - Middle finger only - Any finger can be pricked |
| 12 | 5-8 | What is the correct step to be taken if a client sample initially tested by Test 1 was found reactive and then Test 2 gave a non-reactive result? - Confirm the result by repeating the 2nd test only - Confirm the result by repeating the 1st test only - Confirm the result by repeating Test 1 and Test 2 at the same time - Ask client to come back or refer to the laboratory |
| 13 | 5-15 | - Which of the following below best describes the action you should take after testing a client using a serial testing algorithm and receiving the following results: Test 1: Reactive; Test 2: Non-Reactive; Test 3: Invalid - Immediately repeat Test 3 - Repeat test 1 and report test result as Negative, if Test 1 is still non-reactive - Ask the client to come back the next day - Repeat all three tests |
| 14 | 5-16 | Which statement best describes a two-test serial HIV testing algorithm? - Client's sample is tested with the first test and if reactive, the reactive result is confirmed with a second test - Client's sample is tested using only one test - Client's sample is tested with two rapid tests and if both are reactive a third test is used to confirm - Client's sample is tested using two tests at the same time |
| 15 | 6-7 | What type of errors can be detected through the review of a Standardized HIV Test Register/Logbook? - Inadequate storage conditions of the test kits - Final HIV positive result reported based on only one HIV rapid test - Incorrect sample volume used - Incorrect sample collection device used |
| 16 | 6-16 | The purpose of the PAGE TOTALS at the bottom of each page in a standardized HIV Test Register/Logbook is to: - Track the time it takes to return the test results - Calculate the total number of HIV positive clients identified at the testing site every day - Monitor how frequently the register is reviewed - Help determine the total number of clients tested and test kits used |
| 17 | 6-18 | A standardized HIV Test Register/Logbook which includes testing quality features can be used to document - All HIV rapid test results including individual and final test results - Only final HIV result of clients - Only individual rapid test result - Only client demographic and medical information |
| 18 | 7-2 | What is the CORRECT statement about Dried Tube Specimen (DTS)? - It can be used as Proficiency Testing (PT)/External Quality Assessment (EQA) sample - It is not stable at room temperature - It is difficult to use - It does not need to be rehydrated |
| 19 | 7-8 | What best describes a process that allows the review of test site operations by an external group? - Quality Control (QC) - Proficiency Testing (PT) - Site visit - D. Re-testing |
| 20 | 7-11 | In a typical proficiency testing /external quality assessment program, unknown samples are provided: - Occasionally - Once a month - At the start of a new HIV testing site - At regular intervals |
| 21 | 7-19 | What happens at the end of supportive supervisory visit? - The supportive supervision team provides recommendations to the test provider only - The supportive supervision team provides recommendations to the testing site and the person in charge of the test site - The supportive supervision team provides recommendations to the laboratory manager only - The supportive supervision team provides recommendations to the facility manager only |
| 22 | 8-1 | What is the importance of the Code of Ethics? - Strict confidentiality - Carelessness - Unaccountability - Unethical decision making |
| 23 | 8-13 | Which of the following statements best describes a breach of confidentiality? - Communicate a client information on the phone while providing testing services to another client - Ensure testing registers are securely kept in lockable cabinet - Talk to the client and relatives in professional manner - Seek permission before sharing a client's result with a relative |
| 24 | 9-10 | Which of the following statement is CORRECT about principles of stock management? - All stock must not be accounted for - Order more supplies than your storage can hold - Order more supplies than you can use before their expiration date - Observe the “first expiry, first out” rule |
| 25 | 9-13 | Stock inventory at a rapid test site includes…. - Verifying supplies at the workstation only - Verifying supplies in the store room only - Verifying supplies in both the stockroom and at the workstation - Verifying supplies in one cabinet in the laboratory only |