## QA (N=19)
Module 1. Quality Assurance
Question Code | Question | Answer Key
1-1 | Which of the following statements about quality control is CORRECT? | B
A. It is performed by an external individual or team during a site visit
B. Known positive and negative samples are used daily or weekly by test providers
C. It is performed with unknown positive and negative specimens to assess test performance
D. It is performed only every 3 months by the laboratory
1-2 | The purpose of using positive and negative controls is: | C
A. To train testing site personnel
B. To collect quality control results
C. To verify the quality of the test kits
D. To determine whether or not to report HIV result to a client
1-3 | Which of the following statements is an acceptable quality assurance practice? | C
A. Performing HIV testing even if one of the test kits is expired to prevent interruption of service
B. Testing a new batch or lot of test kit using known positive and negative specimens whenever possible
C. Participating in an external quality assessment (EQA) or proficiency testing (PT) program
D. Performing testing irrespective of the order of the test kits used, as long as they are within the expiration dates
1-4 | A process by which specimens are randomly selected by a testing site and sent to a laboratory for verification of results is | B
A. On-site evaluation
B. Re-testing
C. Proficiency testing
D. Quality control testing
1-5 | How can HIV test providers ensure that only accurate HIV results are returned to clients? | A
A. Check the quality or validity of the test kits by using quality control samples
B. Repeat the finger prick procedure for every client
C. Record positive results using a red pen and negative results using a different color
D. Retest every client twice to confirm the test results
1-6 | Which factor(s) may compromise the accuracy of HIV rapid test results? | A
A. Recording a reactive result as soon as both the test and control lines are visible
B. Checking the expiration date of the test kit prior to use
C. Discarding a lancet in the sharps containers or safety box
D. Testing quality control samples at least once a week
1-7 | Which one of the examples below accurately describes the steps performed during the pre-testing phase? | A
A. Collect the proper sample
B. Add whole blood sample to the test device
C. Add test buffer to the test device
D. Dispose of the test device after test result is recorded
1-8 | Which term below describes the process in which a testing site is assessed by an external individual or team? | D
A. Quality Control
| B. Proficiency Testing (PT) or external quality assessment (EQA) |  | Isn't on-site audit part of EQA
C. Re-testing
D. Site Visit
1-9 | HIV test results are invalid when: | B
A. The kits are stored according to the manufacturer's instructions
B. No control line is present within the test device
C. The control line is present but faint
D. The HIV test results are recorded in the HIV testing register (or logbook) using a red pen
1-10 | Which of the following is a potential cause of an invalid result? | A
A. Expired or improperly stored test kits or controls
B. Adequate sample volume
C. Test procedure followed
D. Site testing more than 20 clients every day
1-11 | Who is the first person responsible for the quality of HIV testing at the testing site? | B
A. National HIV program coordinator
B. Testing site personnel
C. Test site supervisor
D. National Reference Laboratory personnel
1-12 | Which of the following statements is an example of preventing errors to ensure accurate results? | D
A. Keeping test kits stored under direct sunlight
B. Performing testing without reviewing the test procedures
C. Reporting results without checking for trancription errors
D. Checking the availability of test kits and supplies
1-13 | What could be the possible cause of getting a positive result from testing a negative control sample? | B
A. Quality control samples are properly labelled
B. Use of contaminated quality control samples
C. Use of the correct test kit
D. Adding the correct volume of sample and buffer
1-14 | What is the next step if the negative control sample is contaminated? | C
A. Inspect test kits are not damaged and expired
B. Report to supervisor and use a new rapid test kit lot
C. Re-test a new set of controls using a new device and follow the test procedure
D. Record the result and continue to test client samples
1-15 | Which of the following statements best describes one of the procedures during the testing phase? | C
A. Record HIV test results into a standarized HIV testing register
B. Store the testing resgister in the office of the person in charge of the facility
C. Add the buffer to the test device
D. Ensure all the necessary supplies for testing are available
1-16 | Which of the following is a component of Quality Assurance (QA)? | A
A. Safety
B. Refer to a senior colleague for test procedures
C. Dress professionally
D. Be on time
1-17 | When do errors occur during HIV testing? | A
A. When there are no written procedures or if the procedures are not followed.
B. When the person in charge of the facility does not review the test results
C. When the client watches you during testing
D. When the test provider does not test quality control samples every day
1-18 | Which of the following statements best describes what you do during the post-testing phase? | A
A. Record HIV test results into a standarized HIV testing register
B. Add the sample to test device
C. Add the buffer to the test device
D. Write the client name on the test device
1-19 | Which of the following statements best describes what you do during the pre-testing phase? | D
A. Record HIV test results into a standarized HIV testing register
B. Store the testing resgister in the office of the person in charge of the facility
C. Add the buffer to the test device
D. Ensure all the necessary supplies for testing are available

## Overview of RT (N=17)
Module 2. Overview of HIV Rapid Testing
Question Code | Question | Answer Key
2-1 | Which of the following formats is the least common format for HIV Rapid Test? | B
A. Immunochromatography
B. Particle agglutination
C. Immunoconcentration
D. Lateral flow
2-2 | Which statements below best describes the meaning of AIDS? | A
A. Acquired immune deficiency syndrome
B. Acquired immune deficiency symptoms
C. Acquired immunity and deficiency signs
D. Acquired immunity and deficiency syndrome
2-3 | During early HIV infection, an individual may have a negative test result because | C
A. The individual is HIV negative
B. The individual is protected against HIV
C. The individual has not yet produced antibody to HIV
D. The individual was on antibiotics, therefore he or she was protected against HIV
2-4 | Which of these human samples are commonly used for HIV rapid testing? | A
A. Serum or Whole blood
B. Mucus
C. Saliva
D. Urine
2-5 | For a HIV rapid test to be valid; | B
A. The control line must be absent
B. The control line must be present
C. Both the control and test lines must be absent
D. The test line must be present while the control line is absent
2-6 | Which of the following accurately represents the final HIV status of a client? | D
A. Reactive
B. Non-reactive
C. Invalid
D. Positive
2-7 | Which factor may compromise the quality of HIV rapid testing? | D
A. Testing quality control samples on a regular basis
B. Discarding a broken test tube found on the floor in the waste container designated for “sharps”
C. Checking the expiration date of the test kit prior to use
D. Recording a non-reactive result after 13 minutes, although the manufacturer requires the test to be read between 15-30 minutes
2-8 | When can you use expired HIV rapid test kits to test a client? | D
A. When the control line is present
B. When you run out test kit and you have clients waiting to be tested
C. When the kit have been properly stored
D. You never use an expired test kit to test a client
2-9 | Which of the following is one advantage of an HIV rapid test? | D
A. It is very expensive
B. Requires complex equipment to work
C. It is difficult to use
D. Robust, affordable and easy to use
2-10 | What is the first thing you would do if there is no control line present, but the test line is reactive? | A
A. Repeat the test using a new device
B. Check temperature records for storage and testing areas
C. Record the result as positive
D. Report the result to the client
2-11 | If the control line is extremely faint, the test is | B
A. Invalid
B. Valid
C. Damaged
D. Non-reactive
2-12 | What is the first step you perform before testing a client? | A
A. Check that the test kit has not expired
B. Ensure that you have a red pen to record the positive results in the testing register
C. Discard the lancet in sharp container/safety box
D. You must consult with your supervisor before testing a client
2-13 | Which virus causes AIDS? | D
A. Herpes virus
B. Hepatitis C
C. Hepatitis B
D. HIV
2-14 | If the test result is repeatedly invalid, what do you do? | A
A. Do not report the result to the client
B. Report the result to the client
C. Assume there is no problem
D. Do not inform your supervisor
2-15 | Which statement best describes how the chase or running buffers should be used? | B
A. Chase or running buffers from different rapid tests are interchangeable
B. Chase or running buffers from different rapid tests are not interchangeable
C. Chase or running buffers from the same rapid tests are interchangeable even if they have different lot numbers
D. Chase or running buffers can be replaced with saline if there is a stock out issue
2-16 | Which statement best describes good practice when collecting a blood sample for HIV testing? | A
A. Use the specimen collection device provided in the test kit to collect blood from a finger prick.
B. Apply the drop of blood from a finger prick directly onto the test device
C. Collect the first drop of blood immediately after pricking
D. Use the plastic pipet from a different rapid test to collect the blood sample from a finger prick
2-17 | Which of the following is true regarding the test wait time? | B
A. Interpreting the test before the end of the wait time is acceptable as long as the test line is visible
B. Interpreting the test after the wait time could result in a wrong diagnosis
C. Interpreting the test regardless of the wait time is acceptable as long as you see the control line
D. Interpreting the test regardless of the wait time is fine as long as it is done in front of the client

## Safety (N=40)
Module 3. Safety at the HIV Testing Site
Question Code | Question | AnswerKey
3-1 | Which of the following actions is a safety practice? | C
A. Discarding sharps into the office waste bin
B. Performing blood collection without gloves
C. Washing hands before and after each client
D. Keeping food and drinks in the testing area
3-2 | Biohazard is a risk to humans or envrionment caused by a germe (bacteria, virus, parasite) or a condition. | A
A. True
B. False
3-3 | When maintaining a clean and orderly work space, which of the following is important? | B
A. Keep all test and blood collection supplies unsecured in the testing area
B. Decontaminate daily
C. Decontaminate only when there is a spill
D. Allow anyone to have access to your testing area
3-4 | Examples of biohazards include client specimens, used test devices, used lancets and anything potentially contaminated while performing testing. | A
A. True
B. False
3-5 | Which of the following is an appropriate procedure for handling sharps: | C
A. The containers or safety boxes must be sealed when half full
B. The containers or safety can be emptied and re-used to save money
C. The sharps must not be left on the floor or disposed of in the general waste bin
D. The containers or safety boxes must be placed in a central location for all test providers to share
3-6 | What is the basis of Universal Precautions? | D
A. Establish corrective actions for when quality control specimens are invalid
B. Check expiration date of test kits and reagents
C. Review testing procedures
D. Treat every specimen as though it is infectious
3-7 | When cleaning up spills at the testing site, it is important to: | D
A. Let the spill dry before attempting to clean it
B. Avoid adding cleaning liquids to the spill because it increases the size of the spill
C. Clean the spill with just water
D. Use approved disinfectant to clean the spill
3-8 | When an accident (e.g. cuts or splash) happens at a testing site, the accident does not have to be reported unless someone is injured. | B
A. True
B. False
3-9 | Which of the following is an immediate step taken when a test provider has a sharps injury: | B
A. For injuries that break the skin, do not allow bleeding and wash with soap and water
B. For injuries that break the skin, allow bleeding for few seconds and wash with soap and water
C. Apply disinfectants into the wound
D. Inform another test provider of the exposure and the action taken
3-10 | Which of the following is true about incinerating contaminated waste: | B
A. Does not generate a lot of smoke
B. Prevents re-use by burning to completion
C. Useful for tracking which test kits were used that day
D. Can be done by the everyone at the facility
3-11 | Food can be stored in the testing area as long as the area is clean. | B
A. True
B. False
3-12 | Who needs to be safe at the HIV rapid testing site? | B
A. Site supervisor
B. Everyone
C. Cleaners
D. Test provider
3-13 | There are many different types of sharps containers/safety boxes, however they all must have: | A
A. Puncture-proof walls and leak-proof sides and bottom
B. A hole small enough for lancets and needles only
C. A red label
D. A hole big enough to remove lancets and needles for re-use
3-14 | Which of the following statements about sharps containers is CORRECT? | D
A. Used to collect sharps for re-use
B. Kept in a centralized location to avoid accidental contamination
C. Shaken to create more space
D. Sealed when container is ¾ full
3-15 | When a test provider has a sharps injury, it is important to immediately wash with soap and water and apply disinfectants directly to avoid possible infection. | B
A. True
B. False
3-16 | Which statement best describes how to prepare a 1:10 bleach solution: | D
A. Mix 5 parts water with 5 parts bleach
B. Mix 1 part water with 9 parts bleach
C. Mix 1 part bleach with 10 parts water
D. Mix 1 part bleach with 9 parts water
3-17 | Applying safety practices throughout the testing process includes all of the following: | A
A. Properly cleaning up work area
B. Leaving waste for next day pick up since the bins are not full
C. Not wearing PPEs (Personal Protective Equipment) when performing finger-prick because the amount of blood collect is small
D. Cleaning up your work area once, at the end of the day
3-18 | An appropriate sharps container must have puncture proof walls, leak proof sides and bottoms. | A
A. True
B. False
3-19 | Which of the following safety activities is your responsibility at the test site? | A
A. Wash your hands with soap and water before and after testing each client
A. Wash your hands with soap and water only if you touch blood
C. You do not have to report minor accident or incident to your site supervisor or person in charge
D. Dispose of contaminated sharps and waste once a week
3-20 | Which of the following can lead to a fingerprick injury? | C
A. When it is performed on children
B. When following the proper fingerprick procedure
C. Poor concentration
D. When it is not performed routinely
3-21 | At a high volume testing site, it is necessary to seal and remove sharps containers ONLY when it is completely full. | B
A. True
B. False
3-22 | When incinerating waste, which of the following is CORRECT: | D
A. Helps burns all paper materials only
B. Does not need to be supervised
C. Helps decontaminate all materials before reusing them
D. Allows to burn to completion all contanimated wastes
3-23 | When a healthcare worker has a sharps injury, an immediate step taken is to allow bleeding for a few seconds before washing with soap and water. | A
A. True
B. False
3-24 | Which of the following statements is CORRECT about safety at the HIV rapid testing site? | A
A. Everyone should be involved in ensuring a safe testing environment
B. Safety involves only protecting the environment from certain dangerous and/or hazardous materials
C. Only a blood sample from a HIV positive client is potentially hazardous
D. Safety involves taking precautions to protect the test provider only
3-25 | Which of the following items could be a risk for infection at the HIV rapid testing site? | A
A. Used lancets
B. Alcohol swabs and gauzes
C. Sterile Gloves
D. New Apron or Lab coat
3-26 | If a client’s HIV rapid test result is negative, it is okay to leave the used test device and lancet at the work station because it may not be infectious. | B
A. True
B. False
3-27 | If the test provider accidentally drops an unused lancet into the sharps container, its okay to retrieve it since it has not been used. | B
A. True
B. False
3-28 | Which of the following statements about disinfection is CORRECT? | B
A. It is not important since work surfaces do not need to be cleaned
B. Kills germs and pathogens
C. Does not have to be used to clean spills
D. Does not reduce the risk of infection
3-29 | Maintaining a clean and organized work station contributes to work place safety. | A
A. True
B. False
3-30 | Disinfection of the work area is important because it kills germs and prevents cross-contamination. | A
A. True
B. False
3-31 | Which of the following are examples of safe work habits: | A
A. Wash hands before and after each client
B. Not wearing a lab coat or apron if it is too hot
C. Wear a new pair of gloves when the client looks sick
D. Discard sharps in the office waste bin
3-32 | Applying safety practices during specimen collection and transport are part of the testing phase. | B
A. True
B. False
3-33 | If a sharps container is not available at the moment, used sharps can be put in the general waste bin. | B
A. True
B. False
3-34 | The Universal Precaution states "Discard broken glass found on the floor in the waste container designated for sharps" | B
A. True
B. False
3-35 | Only authorized personnel should incinerate contaminated waste. | A
A. True
B. False
3-36 | Applying safety practices throughout the testing process includes: | A
A. Washing hands before and after testing each patient
B. Wearing gloves only when discarding hazardous and non-hazardous waste
C. Disposing of sharps in the general waste bin temporarly when a sharps container is not available
D. Reporting problems to your site supervisor or person in charge only if it is a life threatening situation
3-37 | At the testing site, each test provider should only be concerned about safety at their work area and let the site supervisor be concerned about safety at the rest of the site. | B
A. True
B. False
3-38 | Items at the test site such as used lancets, full sharps containers and contaminated gloves can potentially be a biohazard. | A
A. True
B. False
3-39 | Which on of the following statements about disinfecting work areas with bleach is CORRECT: | B
A. It only keeps work areas clean when used with 70% alcohol
B. It should be diluted in 9 parts of water when preparing a 1:10 bleach solution
C. It eliminates bad odors
D. It should be used concentrated to be more effective
3-40 | Sharps containers should be placed in central location to allow easy access by all test providers at the testing site. | B
A. True
B. False

## Specimen collection (N=19)
Module 4. Specimen Handling and storage
Question Code | Question | Answer Key
4-1 | Which of the following type of specimens can be used for HIV rapid testing? | D
A. Urine
B. Mucus
C. Dried Blood Spots
D. Whole Blood
4-2 | Which of the following is required when performing the fingerprick procedure? | A
A. Disinfect fingertip using an alcohol swab by starting in the middle and work outward to avoid contamination
B. "Milking" or squeezing the finger to get more blood from the fingerprick
C. Disinfect fingertip using 10% bleach
D. Wipe away the 1st drop of blood with an alcohol swab
4-3 | Which statement correctly describes the type of tube used for whole blood collection for a plasma specimen? | A
A. Blood samples should be collected in tubes with an anticoagulant
B. Blood samples should be collected in red top tubes
C. Blood samples should be collected in tubes without an anticoagulant
D. Blood samples should be collected in 5ml syringes
4-4 | Which of following is the optimal temperature to store serum and plasma samples for one week? | D
A. Between 2°C and 20°C
B. Room temperature
C. At 45°C
D. Between 2°C and 8°C
4-5 | Which of the following is considered a valid sample for HIV rapid testing? | B
A. Clotted sample
B. Sample properly labeled
C. Contaminated sample
D. Mislabeled sample
4-6 | What should a test provider do to ensure a valid sample is collected for HIV rapid testing? | D
A. Make sure the first drop of blood is collected
B. Use any sample collection device available
C. Make a small incision at the collection site first to avoid hurting the client
D. Ensure the correct sample volume is collected
4-7 | Which of the following collection supplies are required for sample collection by finger prick? | C
A. Syringes
B. Butterfly needles
C. Sterile lancets
D. Tourniquet
4-8 | Which one of the following waste containers is used for proper disposal of used lancets? | C
A. Waste bin with red liner
B. General waste bin with black liner
C. Sharps container/safety box
D. Waste bin with yellow liner
4-9 | What is the first step of conducting a finger prick: | C
A. Firmly press the lancet at the collection site to puncture the fingertip
B. Apply intermittent pressure to help the blood flow
C. Collect all necessary supplies for finger prick and testing
D. Disinfect the fingertip using an alcohol swab
4-10 | Why is it important to wipe away the 1st drop of blood with a sterile gauze pad or cotton ball as part of the finger prick procedure: | A
A. Avoid contamination with tissue fluid which would interfer with the rapid test
B. Avoid blood sample overflow
C. Avoid incorrect blood sample volume being collected
D. Avoid infection at the finger prick area
4-11 | The single most important way to prevent the spread of infection during the fingerprick procedure is? | C
A. Wearing a mask
B. Indentifying the correct puncture site
C. Washing you hands
D. Wearing safety glasses
4-12 | Why is it important to warm up the hand or finger to be pricked? | A
A. To increase the blood flow
B. To make the client comfortable
C. To make the provider comfortable
D. It does not really matter
4-13 | When cleaning the site for fingerprick the fingertip should be cleaned with an alcohol swab using: | A
A. A circular motion staring from the middle and working outward
B. Vigorous scrubbing
C. A circular motion from the outside and working to the middle
D. A single wipe of alcohol from top to bottom
4-14 | Which are the most appropriate fingers to prick for testing? | B
A. Thumb and middle fingers
B. Second and middle fingers
C. Middle finger only
D. Any finger can be pricked
4-15 | What do you look for when selecting a finger to be pricked? | A
A. If there is no wound
B. If the client nails are not broken
C. If the finger tip is red enough indicating that there is an adequate blood flow
D. There is no need to verify
4-16 | What steps should be taken immediately after performing a finger prick? | C
A. Apply a cotton ball or gauze on the pricked area
B. Apply a plaster on the pricked area
C. Discard the lancet in the sharp container
D. Ask the clients to elevate their hand
4-17 | What steps best describe what should be done prior to collecting blood samples? | B
A. Confirm the client information and describe the procedure
B. Confirm the client information, wash your hands, wear your gloves and describe the procedure
C. Wear your gloves and describe the procedure
D. Wear a mask and gloves before proceeding
4-18 | Where are sample collection supplies stored at the end of the work day? | B
A. On a tray in the testing area for easy access
B. Locked in a safe and secure area
C. On a shelf where the test register is located
D. Wherever space is available
4-19 | Which statement best describes a tester's responsibilities to ensure a valid sample is collected? | B
A. Use any specimen collection device available
B. Follow standard operating procedures for fingerprick
C. Collect the first drop of blood
D. Discard lancet in the general waste bin

## Serial alogrithm (N=18)
Module 5. HIV Testing Algorithm - Serial
Question Code | QUESTION | Answer Key
5-1 | Which of the following statements is the CORRECT definition of an HIV testing algorithm? | A
A. Is the sequence of steps (usually includes 2-3 different rapid tests) to follow to establish a person’s HIV status
B. Laboratory method to help interpret HIV results
C. Method to recognize quality elements related to HIV testing
D. Laboratory method used to track how many test kits has been used
5-2 | Which statement best describes the importance of following the approved national testing algorithm? | B
A. To ensure test kits are used within their expiration date
B. To monitor quality and ensure test results provided to clients are accurate
C. To allow test providers the use of any rapid test kit available
D. To ensure site supervisors do not take any punitive measure
5-3 | What types of HIV testing algorithms are available? | C
A. Serial testing algorithm only
B. Parallel testing algorithm only
C. Serial and Parallel testing algorithm
D. Cross sectional testing algorithm only
5-4 | Which statement best describes a serial testing algorithm? | A
A. Client Is initially tested with only one test; the result of this test determines whether additional testing is required
B. Client sample that is non-reactive by the first test is confirmed using a second rapid test
C. A third test may be used if the result of the first two tests are non-reactive
D. Client sample that is reactive by the first test does not need to be confirmed by using a second rapid test
5-5 | How many HIV rapid tests are commonly used for a national HIV testing algorithm? | B
A. 1 test only
B. 2 or 3 tests
C. 3 tests
D. More than 3 tests
5-6 | After performing a serial testing algorithm, the following result was recorded: Test 1: Non-Reactive. | A
Which statement best describes your next steps?
A. Report the result as Negative
B. Repeat Test 1 and report the result as Negative if Test 1 is still non-reactive
C. Review standard operating procedures
D. Do not retest and report results as Invalid
5-7 | According to serial testing algorithm, What is the client's final HIV status given the following test results? Test 1: Reactive. | C
A. Client is HIV Positive
B. Client is HIV Negative
C. No final HIV status can be reported until result is confirmed by a second test
D. Client is indeterminate
5-8 | What is the correct step to be taken if a client sample initially tested by Test 1 was found reactive and then Test 2 gave a non-reactive result? | D
A. Confirm the result by repeating the 2nd test only
B. Confirm the result by repeating the 1st test only
C. Confirm the result by repeating Test 1 and Test 2 at the same time
D. Ask client to come back or refer to the laboratory
5-9 | If the National HIV testing algorithm is a serial algorithm using three tests. In the scenario below, please interpret the HIV status of the client. | A
Test 1. HIV Rapid Test is Reactive; Test 2. HIV Rapid Test is Non-reactive; Test 3. HIV Rapid Test is Non-reactive
A. The HIV status is Negative
B. The HIV status is Invalid
C. The HIV status is Indeterminate
D. The HIV status is Positive
5-10 | After testing a client using a 3 test serial algorithm the following results were recorded: Test 1, Reactive; Test 2, Non-Reactive; Test 3, Invalid | D
What is the final HIV status?
A. Positive
B. Negative
C. Indeterminate
D. Final HIV status can not be determined
5-11 | The selection of the national HIV algorithm is the responsibility of | A
A. The Ministry of Health
B. The HIV Testing Services coordinator
C. The test provider
D. Anyone involved in HIV testing
5-12 | Your new HTS guidelines include retesting for verification before ART. What would you do if the initial test result is positive and the retesting result is negative? | C
A. Additional testing is performed
B. Repeat the retesting
C. Send the client back to the site where initial testing was performed and repeat the test
D. Use the retesting result as the final results
5-13 | After testing a client using a serial algorithm, the following results were recorded | C
Test 1: Reactive; Test 2: Invalid
What is the HIV status of the client?
A. Client is HIV Negative
B. Client is HIV Positive
C. Client's result can not be reported
D. Client's result is Indeterminate
5-14 | After testing a client using a serial testing algorithm, the following results were recorded | A
Test 1: Reactive; Test 2: Reactive. What is the HIV status of the client?
A. Client is HIV Positive
B. Client is HIV Negative
C. Client is Reactive
D. Client's result is Indeterminate
5-15 | Which of the following below best describes the action you should take after testing a client using a serial testing algorithm and receiving the following results: Test 1: Reactive; Test 2: Non-Reactive; Test 3: Invalid | A
A. Immediately repeat Test 3
B. Repeat test 1 and report test result as Negative, if Test 1 is still non-reactive
C. Ask the client to come back the next day
D. Repeat all three tests
5-16 | Which statement best describes a two-test serial HIV testing algorithm? | A
A. Client's sample is tested with the first test and if reactive, the reactive result is confirmed with a second test
B. Client's sample is tested using only one test
C. Client's sample is tested with two rapid tests and if both are reactive a third test is used to confirm
D. Client's sample is tested using two tests at the same time
5-17 | Retesting for verification before ART means | A
A. Confirming all HIV positive clients results
B. Retesting every 20th client sample
C. Repeat testing after 14 days in case of discordant results between test 1 and test 2
D. Confirming self testing results
5-18 | When can HIV infection be diagnosed with a single test | D
A. In the case of stockout of test 2
B. During outreach campaign
C. During labor
D. Never

## Record Keeping (N=18)
Module 6. Record Keeping - Logbook
Question Code | Question | Answer Key
6-1 | Which of the following is true about Recordkeeping? | A
A. Helps properly maintain the testing information recorded
B. Is used to monitor testing site performance
C. Cannot be used to track test kit consumption
D. Is used to record the information different ways every time
6-2 | Which of the following statements is CORRECT about a standardized HIV Test Register/Logbook ? | B
A. It is not an ongoing quality assurance monitoring tool
B. It assesses the validity of a testing algorithm used in country
C. It captures clients demographics
D. It is only used to determine test kit consumption
6-3 | Which of the following are HIV testing quality indicators included in a standardized HIV Test Register/Logbook? | A
A. The results of individual tests (e.g. reactive, nonreactive, invalid)
B. The name and age of the clients
C. The client home address
D. The client's occupation
6-4 | What is the purpose of a standardized HIV Test Register/Logbook? | A
A. It allows assessing the performance of the provider
B. It is only used to determine test kit consumption
C. It is used to record the information different ways every time
D. It allows the client relatives to know the client HIV status
6-5 | Which of the following is TRUE when storing a atandardized HIV Test Register/Logbook? | A
A. It is only accessible by authorized personnel
B. It is kept in a central location for client to view and sign
C. It kept in an unlocked cabinet when it is not in use
D. It is kept in a central location readily available for all staff
6-6 | What type of information captured in a standardized HIV Test Register/Logbook helps identify an issue with a test? | B
A. The name of client
B. The test information such as name, lot number and expiration date
C. The name of the test provider
D. The name and signature of the site supervisor
6-7 | Why is it important to review a standardized HIV Test Register/Logbook routinely? | B
A. It helps assess the competency of the site supervisor
B. It helps identify problem with the testing algorithm
C. It helps understand if the clients are satisfy with the service provided
D. It helps assess how often the site receive a supervisory visit
6-8 | What type of errors can be detected through the review of a Standardized HIV Test Register/Logbook? | B
A. Inadequate storage conditions of the test kits
B. Final HIV positive result reported based on only one HIV rapid test
C. Incorrect sample volume used
D. Incorrect sample collection device used
6-9 | Which of the following are good tips for recordkeeping? | B
A. It can be signed by every user
B. The information is record every time a procedure is performed
C. The test providers can use different pen colors to record the test results
D. Each provider can start a new page every time they use it
6-10 | Who is responsible for good recordkeeping? | B
A. The facility manager
B. Everyone who is authorized to handle testing records and documents
C. The HIV program coordinator
D. The HIV test provider
6-11 | A standardized HIV Register/logbook allows a test site to do which of the following: | C
A. Identify problems with the client
B. Determine test kit consumption only
C. Determine areas that need improvement
D. Provide information about the last training received by the test provider
6-12 | Which statement is CORRECT about proper recordkeeping? | D
A. It allows a test site to send HIV test results to clients
B. It helps identify and troubleshoot domestic problems with the client
C. It does not need to be reviewed by supportive supervisory team
D. It helps ensure the testing information is recorded consistently all of the time
6-13 | Keeping a standardized HIV Test Register/Logbook secure means which of the following: | A
A. Locking the HIV register/logbook at the end of the day to maintain client's confidentiality
B. Allowing access to all personnel at the test sites
C. Keeping it in client's view during testing
D. Leaving it unattended in the testing area
6-14 | Which of the following are important features of a standardized HIV Test Register/Logbook? | D
A. The name of the courier delivering kits to the testing site
B. Client Signature
C. Facility manager contact information
D. Client's demographics and each test kit information
6-15 | A standardized HIV Test Register/Logbook: | B
A. Is a register designed to track test kit consumption only
B. Informs the supervisor on daily activities at the HIV testing sites
C Helps monitor if the test provider start on time
D. Shows the tester is busy
6-16 | The purpose of the PAGE TOTALS at the bottom of each page in a standardized HIV Test Register/Logbook is to: | D
A. Track the time it takes to return the test results
B. Calculate the total number of HIV positive clients identified at the testing site every day
C. Monitor how frequently the register is reviewed
D. Help determine the total number of clients tested and test kits used
6-17 | A standardized HIV Test Register/Logbook can be used to monitor: | B
A. The behavior of the client
B. The performance of a test provider
C. The amount of time a test provider spends with the client
D. The accuracy of the client's contact information
6-18 | A standardized HIV Test Register/Logbook which includes testing quality features can be used to document | A
A. All HIV rapid test results including individual and final test results
B. Only final HIV result of clients
C. Only individual rapid test results
D. Only client demographic and medical information

## EQA and DTS PT (N=20)
Module 7. Introduction to DTS
Question Code | Question | Answer Key
7-1 | What is the CORRECT statement about corrective action? | A
A. An action taken to resolve a problem
B. An action taken to create a problem
C. A disciplinary action taken against the test provider
D. A disciplinary action taken against the client
7-2 | What is the CORRECT statement about Dried Tube Specimen (DTS)? | A
A. It can be used as Proficiency Testing (PT)/External Quality Assessment (EQA) sample
B. It is not stable at room temperature
C. It is difficult to use
D. It does not need to be rehydrated
7-3 | the purpose of retesting every 20th client sample is to … | D
A. Confirm all positive results before ART initiation
B. Confirm all indeterminate results only
C. Confirm all invalid results
D. Monitor the accuracy of test results generated by a test site
7-4 | Testing of unknown samples that you received from the national reference laboratory is known as: | B
A. Quality Control (QC)
B. Proficiency testing (PT)/External Quality Assessment (EQA)
C. Quality performance
D. Quality assurance (QA)
7-5 | Which of the following is an activity of an External Quality Assessment (EQA) program? | B
A. Test quality control (QC) samples weekly
B. Re-test every 20th client samples by laboratory
C. Site certification
D. Onsite training
7-6 | What do you use to reconstitute the Dried Tube Specimen (DTS) for testing? | C
A. Saline solution
B. Any rapid test kit buffer
C. Dried Tube Specimen buffer
D. Water
7-7 | What best describe the the following definition “A process by which every 20th client blood sample is randomly selected and sent to the reference laboratory for verification of results.” | D
A. Quality Control (QC)
B. Proficiency Testing (PT)
C. On-site evaluation
D. Re-testing
7-8 | What best describes a process that allows the review of test site operations by an external group? | C
A. Quality Control (QC)
B. Proficiency Testing (PT)
C. Site visit
D. Re-testing
7-9 | How long can Dried Tube Specimens (DTS) be kept after being reconsituted and before testing? | A
A. Overnight
B. 48 hours
C. 72 hours
D. 1 week
7-10 | What is CORRECT about External Quality Assessment? | A
A. It involves supportive supervisory visit
B. It involves retesting all the positive clients before ART initiation
C. It involves testing positive and negative controls weekly
D. It involves retraining all test providers
7-11 | In a typical proficiency testing /external quality assessment program, unknown samples are provided: | D
A. Occasionally
B. Once a month
C. At the start of a new HIV testing site
D. At regular intervals
7-12 | Which of the following is a characteristic of Dried Tube Specimen (DTS) before it is reconstituted? | A
A. It is stable at room temperature
B. It is expensive
C. It requires cold chain for transportation
D. It can only be tested by the laboratory
7-13 | What happens if the dropper or pipette touches the inside of the Dried Tube Specimen (DTS) tube, while adding DTS buffer during reconstitution? | C
A. Nothing, as long as the sample has not been touched
B. It helps dissolve the DTS pellet quickly
C. It may result in cross-contamination
D. It may result in cross-contamination only if it touches the DTS pellet
7-14 | What is the main advantage of Dried Tube Specimens when compared to serum/plasma specimens? | A
A. There is no risk of spills during shipment of Dried Tube Specimens
B. It can be tested in the laboratory using rapid test
C. It requires cold chain transport
D. it is similar to serum/plasma specimens
7-15 | As a Proficiency Testing (PT)/External Quality Assessment (EQA)program provider, the National Reference Laboratory (NRL) … | B
A. Provides timely corrective action to clients
B. Prepares and sends PT/EQA panels to the testing sites or laboratories
C. Provides test results to the clients
D. Provides PT/EQA panels to the facility laboratories only
7-16 | Which of the following is an example of the samples for Proficiency Testing/External Quality Assessment for HIV rapid testing? | C
A. Oral fluid sample
B. Urine sample
C. Dried tube specimen (DTS)
D. Dried blood spot specimen (DBS)
7-17 | Which of the following statements best describes a supportive supervision? | C
A. When the district implementing partners visits the facility manager
B. When the person in charge of the facility visit the regional medical officer
C. When a team from the national, regional or district level reviews the testing site processes
D. When a team from the national reference laboratory trains all test providers
7-18 | What happens during a supportive supervisory visit? | B
A. The supportive supervision team meets with the person in charge of the facility only
B. The supportive supervision team identifies issues at the test sites
C. The sipportive supervision team tests the Proficiency Testing/External Quality Assessment samples for all of the testing sites
D. The supportive supervision team invites the testers to lunch
7-19 | What happens at the end of supportive supervisory visit? | B
A. The supportive supervision team provides recommendations to the test provider only
B. The supportive surpervision team provides recommendations to the testing site and the person in charge of the test site
C. The supportive supervision team provides recommendations to the laboratory manager only
D. The supportive supervision team provides recommendations to the facility manager only
7-20 | What should a test provider do when recommendations for improvement are provided by a supportive supervision team? | A
A. Discuss with the person in charge of the test site how best to implement the recommendations
B. Discuss with the person in charge of the test site only the recommendations that can be implemented if time permits
C. Discuss with the person in charge of the test site that the recommendations are not relevant
D. Agree with the person in charge of the test site that the recommendations can be implemented when all testers are available

## Professional Ethics (N=16)
Module 8. Professional Ethics
Question Code | Question | Answer
8-1 | What is the importance of the Code of Ethics? | A
A. Strict confidentiality
B. Carelessness
C. Unaccountability
D. Unethical decision making
8-2 | Who is responsible for ethics? | A
A. Everyone at a testing site
B. Laboratory technician
C. Nurse counselor
D. Driver
8-3 | Which of these terms best describes the following definition? “A set of principles of right conduct to ensure patient's right” | B
A. Code of conduct
B. Ethics
C. Law
D. Principles
8-4 | To ensure client's confidentiality is maintained, it is important to … | B
A. Provide unrestricted access to testing records and registers to all personnel
B. Keep all client information private
C. Have unrestricted access to the testing areas
D. Leave testing register unattended in the testing area
8-5 | People often violate ethics not because they mean to do so, but because they are | C
A. Cautious
B. Careful
C. Careless
D. Acting with good intentions
8-6 | Which of the following statements best describes the codes of ethics? | A
A. Keep client information confidential
B. Be inconsiderate with clients and colleagues who are diagnosed HIV positive
C. Test clients without prior training
D. Use HIV test kits to screen relatives and loved ones
8-7 | What are the consequences for using an expired rapid test kit? | B
A. It does not affect a positive result
B. It affects the client result
C. It does not affect a reactive result
D. It does not affect a negative result
8-8 | Which of the following statement best describes ethics? | A
A. Treat client in a professional and respectful manner
B. Report a positive test result to client even when only one test is used
C. Protect a close relative by sharing with him his spouse HIV positive result
D. Communicate the HIV result to the spouse of a pregnant woman because he is the head of the household
8-9 | In the following scenario what ethical issue is described ? "A country policy does not allow the use of client full names in the HIV register, however a counselor recorded the clients' name in the HIV register instead of their client code. It appeared that a nurse communicated one of the clients HIV result to the spouse who is a friend." | A
A. Violation of client’s confidentiality
B. Violation of trust
C. Violation friendship
D. There is no issue, because it is appropriate to notify the spouse in order to protect her
8-10 | What best describes the implication of a breach of confidentiality? | A
A. Stigma towards to the client
B. Respect for client
C. Gain of trust
D. Improved communication skills
8-11 | Which of the following statements best describes a breach of confidentiality? | D
A. Reporting a positive HIV results based on the national algorithm
B. Recording the client code in the testing register/logbook as required by the national guidelines
C. Recording the client name in the testing register/logbook as required by the national guidelines
D. Recording the client name in the testing register/logbook, instead of the client code as required by the national guidelines
8-12 | Which of the following actions is a best practice for maintaining client's confidentiality? | B
A. Maintain client information in the meeting room
B. Keep client results secure from unauthorized individuals
C. Keep client results where everyone has access
D. Leave client results unattended in the testing room during lunch break
8-13 | Which of the following statements best describes a breach of confidentiality? | A
A. Communicate a client information on the phone while providing testing services to another client
B. Ensure testing registers are securely kept in lockable cabinet
C. Talk to the client and relatives in professional manner
D. Seek permission before sharing a client's result with a relative
8-14 | With the code of ethics, you must be … | B
A. Attentionate
B. Responsible for everything you do
C. Compassionate
D. Reasonable
8-15 | Which of the following statements best describes the importance of professional ethics in HIV testing? | B
A. Ethical issues can easily be resolved
B. We must constantly remind ourselves of the code of conducts and ensure we do the right thing
C. Ethical issues are often hard to deal with because they create dilemmas
D. Ethics should only be followed in certain situations
8-16 | Which of the following may be considered as a violation of professional ethics? | C
A. Always following the national algorithm while performing HIV tests
B. Seeking permission before sharing a client's result with a relative
C. Using an expired test kit to perform client test
D. Referring a client to a nearby facility in case of stockout of test kits

## Inventory (N=21)
Module 9. Inventory
Question Code | Question | Answer
9-1 | What does the term stock management mean? | B
A. Ordering supplies in excess of what is actually needed
B. Properly maintaining adequate supplies to ensure uninterrupted service
C. Storing kits and supplies regardless of expiration date
D. Storing new shipment of supplies without inspection
9-2 | What information is recorded on the inventory stock card? | A
A. Lot number and expiration date of kits
B. Name of delivery driver
C. Client test results
D. Specimens received
9-3 | What does “First Expiry, First Out” mean? | C
A. The integrity of supplies is checked before they are accepted
B. The inventory of the kits and/or supplies are documented on a stock card
C. The kits and/or supplies that are expiring first are used before the ones that expire at a later date
D. The amount of stock consumed, borrowed and wasted is considered before re-ordering
9-4 | Which of the following is a procedure you should follow when receiving new kits and supplies? | D
A. Create or update inventory records only when the supplies are damaged
B. Inspect new shipments on an as needed basis
C. Store new shipments in front of existing shipments regardless of expiration date
D. Verify contents of order received with requisition
9-5 | How should kits and supplies be stored? | A
A. Store according to manufacturer’s instructions
B. Store under direct sunlight
C. Place in a room with no ventilation
D. Store stock in whichever space is available
9-6 | Stock Management involves which of the following? | B
A. Storing new orders without inspecting them first
B. Performing a "stock" count
C. Assessing inventory without maintaining proper documentation
D. Reordering as many supplies or consumable as possible regardless of current inventory
9-7 | When is a stock count recommended? | A
A. Recommended at the beginning of each month
B. Recommended once a year
C. Recommended on an as-needed basis
D. Recommended every six months
9-8 | Which of the following would be the consequences of NOT managing supply inventory properly? | A
A. Unable to perform client testing
B. Test kits are used within expiration date
C. Wastage of supplies are minimized
D. No stockout issues observed at testing site
9-9 | On average, you use 5 boxes of the first test in your algorithm every week. It normally takes 12 weeks to receive the order you placed. You should order more kits when you have ____ boxes left in the inventory. Use the formula below to calculate minimum stock level. (Minimum stock level = Maximum lead time (weeks) x Maximum Usage) | C
A. 20
B. 10
C. 60
D. 100
9-10 | Which of the following statement is CORRECT about principles of stock management? | D
A. All stock must not be accounted for
B. Order more supplies than your storage can hold
C. Order more supplies than you can use before their expiration date
D. Observe the “first expiry, first out” rule
9-11 | Which of the following statements best describes what lead time is when calculating the minimum stock level ? | B
A. The time it takes for the delivery man to lead the way to the delivery site
B. The time between placing an order and receiving it
C. The time it takes the supervisor to train new employees on stock management
C. The time between running out of stock and ordering new stock
9-12 | What should you do when you receive a delivery of new supplies? | B
A. Store the new supplies received behind the existing supplies
B. Verify the contents of the order received with the requisition
C. Update records only if there is a new item that they have not received before
D. Place the items in the store room without recording the expiration date
9-13 | Stock inventory at a rapid test site includes…. | C
A. Verifying supplies at the workstation only
B. Verifying supplies in the store room only
C. Verifying supplies in both the stockroom and at the workstation
D. Verifying supplies in one cabinet in the laboratory only
9-14 | What information should be included on a stock card? | D
A. Manufacturer's instructions
B. Client's name
C. Quality control results
D. Minimum stock (re-order) level and current balance of the item
9-15 | Which of the following statements describes proper strorage of testing supplies? | B
A. Keeping the supplies where there is space in the store room
B. Organizing existing and new deliveries by expiration date
C. Placing supplies in direct sunlight
D. Keeping the inventory in a room that is not temperature controlled
9-16 | You use 14 kits every month, your reorder cycle is 3 months, your minimum stock level is 42 kits, and your full stock level is currently 56 kits. Based on this scenario, what is the correct number of kits you need to reorder to ensure you do not go below your full stock level? (Minimum stock level = Maximum lead time (weeks) x Maximum Usage) | D
A. 3
B. 12
C. 42
D. 56
9-17 | Who is resposible for performing the stock count at the test site? | B
A. The vendor
B. A designated person at the facility where the test site is located
C. The district pharmacist
D. The delivery driver
9-18 | You noticed that some of the test kits you need for testing are not available at the time you placed an order, what should you do? | C
A. Nothing and hope that clients do not continue to come to the test site
B. Use some of the expired test kits because they still work
C. Refer client to nearby test site
D. Close the testing site
9-19 | Which of the following statements is important when training new testers on stock management? | B
A. Provide some instructions on how to order testing supplies
B. Show new testers how to complete the ordering form and stock card
C. Describe an alternative plan when stock is available
D. Describe how supplies were ordered the previous year
9-20 | Which items should be counted during a "Stock Count"? | D
A. Only items that have been used
B. Only items that are used every week
C. Items that are in the store room including the ones at the testing points
D. All items in the store room
9-21 | Which of the following statements is CORRECT about stock management ? | B
A. Observe the “First in, first out” rule
B. Observe the “First expire, first out” rule
C. Order large quantities to resolve situations with expired kits
D. Order the quantity you need irrespective of your storage space